HUMBER TEACHING NHS FOUNDATION TRUST

REGULATORY REFORM FIRE SAFETY ORDER 2005

The purpose of this report is to provide an assessment of the risk to life from fire, and, where appropriate, to make recommendations to ensure compliance with fire safety legislation. The report does not address the risk to property or business continuity from fire.

The report represents only the best judgement of the assessor involved in its preparation, and is based, in part, on information provided by others. Regulatory Reform (Fire Safety) Order 2005 (the 'Fire Safety Order')

This fire risk assessment has been carried out on your behalf, being the Responsible Person, as defined in Article 3

of the Regulatory Reform (Fire Safety) Order 2005 (e.g. as an employer), and/or being the person having control, to

any extent, of the premises (as occupier or otherwise). It is intended to assist you in compliance with Article 9 of

the Fire Safety Order, which requires that a risk assessment be carried out.

It is important that you study this fire risk assessment and understand its contents. The fire risk assessment

includes an Action Plan, which sets out the measures it is considered necessary for you to take to satisfy the

requirements of the Fire Safety Order and to protect relevant persons (as defined in the Order) from fire. Relevant

persons are primarily everyone who is, or may be, lawfully in the building, but include certain persons in the vicinity

of the building. It is particularly important that you study the Action Plan. If any recommendation in the Action Plan

is unclear you should request further advice.

The Fire Safety Order requires that you give effect to arrangements for the effective planning, organization, control,

monitoring and review of the preventive and protective measures. These are the measures that have been

identified in consequence of a risk assessment as the general fire precautions you need to take to comply with the

Fire Safety Order.

You must record the above arrangements if:

(a) You employ five or more employees in your undertaking (regardless of where they are employed);

(b) A licence or registration under other legislation is in force; or

(c) An alterations notice is in force requiring a record to be kept.

This fire risk assessment is not the record of the fire safety arrangements to which the Fire Safety Order refers,

although much of the information contained in this fire risk assessment will coincide with the information in that

record. You should, however, ensure that there is a record of the fire safety arrangements, adequate to comply

with Article 11(2) of the Fire Safety Order, and that it is kept up to date. Consideration will have been given, in

carrying out this fire risk assessment, to the records that exist in this respect.

The Fire Safety Order also requires that you appoint one or more competent persons to assist you in undertaking

the general fire precautions described above. Where there is a competent person in your employment, you must,

under Article 18(8) of the Fire Safety Order, appoint that person in preference to a competent person not in your

employment.

This fire risk assessment has considered dangerous substances that are used or stored in your premises, only to

the extent necessary to determine the adequacy of the general fire precautions (as defined in Article 4 of the Fire

Safety Order) and to advise you accordingly. If dangerous substances are used or stored in your premises, you

should ensure that a risk assessment of the relevant work activities has been carried out to enable you to comply

with the Dangerous Substances and Explosive Atmospheres Regulations 2002. This fire risk assessment does not

consider special, technical or organisational measures that are required to be taken or observed in connection with

the use or storage of any dangerous substance.

More generally, this fire risk assessment forms only a foundation for management of fire safety in your premises

and compliance with the Fire Safety Order. It is strongly recommended that you obtain a copy of the Fire Safety

Order if you do not already have ready access to a copy.

FIRE SAFETY RISK ASSESSMENT/AUDIT

Premises:

Date of Inspection:

| A. | General Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Construction of building |  |  |  |  |  |
| 2 | Use of premises |  |  |  |  |  |
| 3 | Sources of ignition |  |  |  |  |  |
| 4 | Factors influencing incident probability |  |  |  |  |  |
| 5 | Numbers of Employees |  |  |  |  |  |
| 6 | Numbers of Others |  |  |  |  |  |
| 7 | Persons at Risk 5 & 6 |  |  |  |  |  |
| 7.1 | People in and around the premises (tick those identified) Medical staff (including agency or temporary staff) Non-medical staff including cleaners/security/maintenance staff etc. Members of the public – both visitors & patients Others, including contractor |  |  |  |  |  |
| 7.2 | Also consider (tick those identified) Lone workers (including cleaners/security/maintenance staff especially all night) Those with language difficulties Non patients with disability Other people in the immediate vicinity of the premises |  |  |  |  |  |
| 7.3 | Special considerations for young persons (tick those identified) Have young people been given special consideration, due to their immaturity and inexperience, the nature and duration of work, the physical properties of materials used and the training they require? |  |  |  |  |  |
| 7.4 | Other considerations (tick those identified) Are Personal Emergency Evacuation Plans (PEEPs) required/ in place? Are there specific risks that might affect fire-fighter safety, Are they controlled? |  |  |  |  |  |
| B | Assessment Findings |  | Suitable |  | Comments |  |
| 1 | Previous assessment |  | Yes |  |  |  |
| 2 | Assessment recorded & available to staff |  | Yes |  |  |  |
| 3 | Changes to premises or procedures since previous assessment. |  | No |  |  |  |
| 4 | Responsible person(s) |  | Yes |  |  |  |
| 4a | Nominated person(s) re fire safety Fire Wardens/Marshall |  | Yes |  |  |  |
| 5 | Means of escape satisfactory |  | Yes |  |  |  |
| 5.1 | Is there an alternative direction of escape? |  | Yes |  |  |  |
| 5.2 | Is the travel distance acceptable? |  | Yes |  |  |  |
| 5.3 | Are escape routes free from obstruction and combustible materials? |  | Yes |  |  |  |
| 5.4 | Are escape routes clearly indicated with correct signage? |  | Yes |  |  |  |
| 5.5 | Is escape lighting provided & adequate? |  | Yes |  |  |  |
| 5.6 | Are fire/smoke dampers and control systems maintained and tested? |  | Yes |  |  |  |
| 5.7 | Are elements of structure adequate? |  | Yes |  |  |  |
| 5.8 | Is (sub) compartmentation integrity & fire stopping adequately maintained? |  | Yes |  |  |  |
| 5.9 | Are suitable refuge areas provided? |  | Yes |  |  |  |
| 5.10 | If refugee areas are provided, are communications provided and tested? |  | Yes |  |  |  |
| 5.11 | Are all internal fire doors clearly marked? |  | Yes |  |  |  |
| 5.12 | Are fire door integrity/strips/seals and all furniture adequately maintained? |  | Yes |  |  |  |
| 5.13 | Are fire doors wedged open? |  | Yes |  |  |  |
| 5.14 | Are staff numbers adequate for the risk |  | Yes |  |  |  |
| 5.15 | Are staff trained in correct evacuation procedures? |  | Yes |  |  |  |
| 5.16 | Do staff carry out evacuation drills yearly? |  | Yes |  |  |  |
| 5.17 | Are staff/visitor fire notices adequate? |  | Yes |  |  |  |
| 5.18 | Are high risk rooms adequately protected? |  | Yes |  |  |  |
| 5.19 | Are there rooms utilised as fire hazard rooms, which do not meet current standards? Identify the rooms and the strategy to upgrade |  | Yes |  |  |  |
| 5.20 | Are there security devices on doors that are suitable & acceptable? Do they comply with Appendix C in HTM 05-03: Part K? |  | Yes |  |  |  |
| 5.21 | Detail facilities provided for firefighters. Is the maintenance appropriate & are records kept? |  | Yes |  |  |  |
| 5.22 | If vertical evacuation is necessary (internal/external), are stairways suitable in size & width? |  | Yes |  |  |  |
| 6 | Stairways, corridors and exits free from combustibles and obstruction |  | Yes |  |  |  |
| 7 | Exit doors immediately available when premises occupied & outside escape area |  | Yes |  |  |  |
| 8 | Emergency exits outward opening |  | Yes |  |  |  |
| 9 | Fire warning / detection installed & maintained |  | Yes |  |  |  |
| 10 | Is an AFD system installed, tested & maintained to HTM 05-03 Pt B? |  | Yes |  |  |  |
| 10.1 | If the AFD system does not conform to HTM 05-03 Pt B what is the standard? |  | Yes |  |  |  |
| 10.2 | Are call points clear, available and showing no signs of damage. |  | Yes |  |  |  |
| 10.3 | Are the fire alarm /AFD linked to an alarm receiving centre? |  | Yes |  |  |  |
| 11 | Emergency lighting installed & maintained? |  | Yes |  |  |  |
| 12 | Firefighting equipment adequate, appropriate and maintained. |  | Yes |  |  |  |
| 12.1 | Are fixed suppression systems adequately maintained and tested? |  | Yes |  |  |  |
| 12.2 | Are hose reels provided and maintained? |  | Yes |  |  |  |
| 12.3 | Are appropriate portable extinguishers provided? |  | Yes |  |  |  |
| 12.4 | Are the extinguishers suitably located, indicated and readily available? |  | Yes |  |  |  |
| 12.5 | Has all firefighting equipment been serviced/ recorded in the last 12 months? |  | Yes |  |  |  |
| 12.6 | Are smoke control systems adequately maintained & tested? |  | Yes |  |  |  |
| 13 | Weekly checks of fire safety provisions carried out and recorded |  | Yes |  |  |  |
| 14 | Monthly checks of fire safety provisions carried out and completed. |  | Yes |  |  |  |
| 15 | Staff training conducted and recorded to (HTM 05-03 Pt A) |  | Yes |  |  |  |
| 16 | Are there any special evacuation aids present? If so, are staff trained in there use? |  | Yes |  |  |  |
| 17 | Is a suitable emergency plan in place? Has it been practiced within the past 12 months? |  | Yes |  |  |  |
| 18 | Fire drills carried out and recorded |  | Yes |  |  |  |
| 19 | Premises fire plan indicating fire safety measures located adjacent to F.A.P. |  | Yes |  |  |  |
| 20 | Signage and notices |  | Yes |  |  |  |
| 21 | Is co-ordination/co-operation with other Trusts/Organisations working and recorded? |  | Yes |  |  |  |
| 22 | Exit routes signposted |  | Yes |  |  |  |
| C | Control Measures |  | Comments |  |  | Further Action |
| 1 | Storage & disposal of combustible waste |  | Daily collection to external bin weekly removal from premises |  |  |  |
| 2 | Hot works procedures |  | Organisational Policy |  |  |  |
| 3 | Fire separation |  | Satisfactory |  |  |  |
| 4 | Furniture & textiles (HTM 05-03 Pt D) |  | Satisfactory |  |  |  |
| 5 | Heating |  | Satisfactory |  |  |  |
| 6 | Electrical Equipment |  | Satisfactory |  |  |  |
| 7 | Storage |  | Satisfactory |  |  |  |
| 8 | Flammable storage and gases |  | Satisfactory |  |  |  |
| 9 | Fixed fire-fighting installations |  |  |  |  |  |
| 10 | Smoking policy |  | Organisational Policy |  |  |  |
| 11 | Work Processes |  | Satisfactory |  |  |  |
| 11.1 | Are stock levels kept to a minimum? |  | Satisfactory |  |  |  |
| 11.2 | Are flammable liquids stored correctly? |  |  |  |  |  |
| 11.3 | Is an effective waste management system in place and observed? |  | Yes |  |  |  |
| 11.4 | Is housekeeping to a high standard? |  | Yes |  |  |  |
| 11.5 | Is electrical, mechanical and gas equipment used and maintained correctly? |  | Yes |  |  |  |
| 11.6 | Are extension, wander leads or socket adaptors used? |  | Yes |  |  |  |
| 11.7 | Are portable heaters in temporary use? If so, can they be replaced with fixed heaters or secured? |  | Yes |  |  |  |
| 11.8 | Are the recommendations of HTM 05-03 Pt F on arson being adopted? |  | Yes |  |  |  |
| 11.9 | Are combustible materials/surface finishes and notice boards etc. to appropriate standards? |  | Yes |  |  |  |
| 11.10 | Are contractors ‘work’ and ‘hot work’ permits issued and monitored? |  | Yes |  |  |  |
| 11.11 | Can any hazardous substance be removed or replaced with a less dangerous substance? |  | Yes |  |  |  |
| 12 | Is there clear access for Fire Service vehicles/personnel |  | Yes |  |  |  |
| 13 | Do all commercial enterprises conform to (HTM 05-03 Pt D)? |  | Yes |  |  |  |
| D | Evaluate the risk of a fire occurring |  |  |  |  |  |
|  | Principles of prevention, areas for consideration - Avoid risks - Remove risks - Evaluate risks which cannot be avoided - Combat risks at source - Adapt to technical progress - Replace dangerous substances by non-dangerous or less dangerous substances (refer to DSEAR Regulations) - Develop a coherent overall prevention policy which covers technology, organisation of work and the influencing factors relation to the work environment - Give collective protective measures priority over individual protective measures - Give appropriate instruction to employees |  |  |  |  |  |
| 14 | Cause and ignition source |  |  | High, Medium or Low risk |  |  |
| 14.1 | Smoking |  |  |  |  |  |
| 14.2 | Fire started by patient |  |  |  |  |  |
| 14.3 | Arson |  |  |  |  |  |
| 14.4 | Work processes |  |  |  |  |  |
| 14.5 | Fire hazard rooms |  |  |  |  |  |
| 14.6 | Equipment |  |  |  |  |  |
| 14.7 | Non patient areas (e.g. examples from table 1 in HTM 05-02) |  |  |  |  |  |
| 14.8 | Lightning |  |  |  |  |  |
| 14.9 | Electrical |  |  |  |  |  |
| 14.10 | Toasters, Microwaves & Portable Electrical Items |  |  |  |  |  |
| 14.11 | Cooking |  |  |  |  |  |
| 14.12 | Contractors |  |  |  |  |  |

The report assesses the level of fire safety provision within the premises and standard of conformity to current legislative provisions and codes of good practice

It is based on conditions and information available at the time of the assessment. Any significant changes to the premises, practices or procedures may require the assessment to be reviewed.

| Item No. | Remarks and Action required. |
| --- | --- |
| MISCELLANEOUS |  |

Signed:			       Date:

Paul Dent

Safety, Information and PPE Manager